## Southridge-Sewer-Water
SOUTHRIDGE PROJECT Wet Utility Improvements Tract PARCEL MAP 20565
| Task | Cost Code | QTY | UOM | Unit Price | Total | Notes
General Items
| Mobilization |  | 1 | LS | 50000 | 50000
| Traffic Control |  | 1 | LS | 10000 | 10000
| Wrap 3.5% |  | 1 | LS | 92467 | 92467
[6 empty] | 152467 | Total
| Task | Cost Code | QTY | UOM | Unit Price | Total | Notes
PUBLIC SEWER
| INSTALL 8" SDR-26 PVC SEWER MAIN PER CITY OF FONTANA STD. PLAN NO 2009 |  | 255 | LF |  | 0
| CONSTRUCT 48" PRECAST CONCRETE MANHOLE PER IEUA STD. NO C-MH-001, SEE DETAILS ON SHEET 3 |  | 5 | EA |  | 0
| TRENCH PAVEMENT REPAIR PER CITY OF FONTANA STD. 1008 |  | 193 | SF |  | 0
RAISE MANHOLE TO GRADE (1ST RAISE)
CLEAN & VIDEO
[6 empty] | 0 | Total
ONSITE SEWER
| INSTALL 8" SDR-35 PVC SEWER MAIN |  | 4509 | LF. |  | 0
| INSTALL 6" SDR-35 PVC SEWER MAIN |  | 4777 | LF. |  | 0
| INSTALL 4" SDR-35 PVC SEWER MAIN |  | - | LS |  | #VALUE!
| INSTALL 48" STANDARD PRECAST CONCRETE SEWER MANHOLE PER CITY OF FONTANA STD. PLAN NO. 2000,2001, & 2003; SEE DETAIL ON SHEET 21 |  | 42 | EA. |  | 0
| INSTALL 8" SEWER TERMINAL CLEANOUT PER CITY OF FONTANA STD. PLAN NO. 2004 (TRAFFIC RATED); SEE DETAILS ON SHEET 21 |  | 47 | EA. |  | 0
RAISE MANHOLE TO GRADE (1ST RAISE)
CLEAN & VIDEO
[6 empty] | #VALUE! | Total
| Task | Cost Code | QTY | UOM | Unit Price | Total | Notes
ONSITE FIRE WATER
1 | INSTALL 8" FIRE WATER METER BY FONTANA WATER COMPANY |  | 1 | EA |  | 0
2 | INSTALL 8" ZURN DOUBLE CHECK DETECTOR ASSEMBLT MODEL 3500ASTDA OR APPROVED EQUAL; SEE DETAIL "B" ON SHEET 11 |  | 2 | EA |  | 0
3 | INSTALL 8" AWWA C900, CLASS 200 WATER MAIN |  | 5395 | LF
4 | INSTALL WET BARREL CLOW MODEL 860 FIRE HYDRANT 6"X4"X(2)2-1/2" OR APPROVED EQUAL; SEE DETAIL ON SHEET 11 |  | 16 | EA |  | 0
5 | CONSTRUCT 4" CONCRETE PROTECTION PAD FOR FIRE HYDRANT, 2' X 2' |  | 16 | EA |  | 0
6 | INSTALL 6" GATE VALVE ASSEMBLY AND VALVE BOX |  | 16 | EA |  | 0
7 | CONSTRUCT THRUST BLOCK PER NFPA 24, SEE DETAILS "C" ON SHEET 11 |  | 25 | EA. |  | 0
8 | INSTALL 8" -90* PVC ELBOW |  | 3 | EA. |  | 0
9 | INSTALL FIRE HYDRANT BLUE REFLECTIVE DOT PER SBCFD STD. W-2; SEE DETAILS ON SHEET 12 |  | 2 | EA. |  | 0
10 | INSTALL 8" PVC TEE, CLASS 200 WATER MAIN |  | 15 | EA |  | 0
11 | INSTALL 6" AWWA C900, CLASS 200 WATER MAIN |  | 122 | LF. |  | 0
12 | INSTALL 8"- 45* PVC ELBOW |  | 3 | EA. |  | 0
13 | INSTALL 8"- 22* PVC ELBOW |  | 1 | EA. |  | 0
14 | PROPOSED WATER METER & REDUCED PRESSURE BACKFLOW ASSEMBLY PER SEPARATE WATER PLAN |  | 4 | EA. |  | 0
TEST & VIDEO
[6 empty] | 0 | Total
| PRIVATE WATER | [5 empty] | Notes
1 | INSTALL 3" NEPTUNE 10 ULTRASONIC WATER METER, INSTALLED BY FONTANA WATER COMPANY; SEE DETAIL ON SHEET 11 | 2 | EA |  | 0
2 | INSTALL 6" WILKINS MODEL 375A REDUCED PRESSURE BACK FLOW ASSEMBLY OR APPROVED EQUAL; SEE DETAIL ON SHEET 11 | 2 | EA |  | 0
3 | INSTALL 6" AWWA PVC DR-21 CL-900 WATER LINE. | 4725 | LF |  | 0
4 | INSTALL 4" AWWA PVC DR-21 CL-900 WATER LINE. | 5295 | LF |  | 0
5 | INSTALL 1" PVC SCH. 40 WATER SERVICE LATERAL FOR 1" SUBMETER |  | LS |  | 0
6 | INSTALL 1" SUB WATER METER, NEPTUNE T-10 OR APPROVED EQUAL SEE DETAIL ON SHEET 11 | 255 | EA |  | 0
7 | INSTALL 1" PRESSURE REGULATING VALVE, ZURN WILKINS MODEL NR3XL OR APPROVED EQUAL; SEE DETAIL ON SHEET 12 | 255 | EA. |  | 0
8 | INSTALL 6" GATE VALVE AND VALVE BOX ASSEMBLY PER STD. H-11 OR APPROVED EQUAL; SEE DETAIL ON SHEET 12 | 105 | EA |  | 0
9 | INSTALL 6X4" PVC TEE | 34 | EA. |  | 0
10 | INSTALL 6" THRUST BLOCK PER STD. H-3A & H-3B; SEE DETAIL ON SHEET 12 | 41 | EA. |  | 0
11 | INSTALL PVC ELBOW; SIZE & ANGLE PER PLAN | 44 | EA |  | 0
12 | INSTALL 6X6 PVC TEE | 1 | EA |  | 0 |  | Total
13 | INSTALL 4" THRUST BLOCK PER STD. H-3A & H-3B; SEE DETAIL ON SHEET 12 | 42 | EA |  | 0
14 | PROPOSED FIRE WATER METER & DOUBLE CHECK ASSEMBLY PER SEPARATE FIRE UNDERGROUND PLAN | - | EA |  | #VALUE! |  | Total
15 | INSTALL REDUCER; SEE SIZE PER PLAN | 1 | EA |  | 0
16 | INSTALL 4" BLOWOFF ASSEMBLY P.V.C. MAINS PER STD. H-7A; SEE DETAIL ON SHEET 12 | 34 | EA. |  | 0
0
0
[5 empty] | #VALUE! | Total
| Task | Cost Code | QTY | UOM | Unit Price | Total
PUBLIC STORM DRAINS
| Construct 24" RCP (D-LOAD PER PROFILE) |  | 156 | LF |  | 0 | 92467
| Construct 18" RCP (D-LOAD PER PROFILE) |  | 215 | LF |  | 0 | 92466.57
| CONSTRUCT MANHOLE STRUCTURE PIP TO PIPE PER CITY STD. 3012 |  | 3 | EA |  | 0
| CONSTRUCT CONCRETE COLLAR PER CITY STD. 3022 |  | 1 | EA |  | 0
| CONSTRUCT 48"X 48" GRATE CONC. INLET STRUCTURE PER DETAIL "B" ON SHEET 4 |  | 1 | EA |  | 0
| CONSTRUCT 36" CSP RISER PER DETAIL "A" ON SHEET 4 |  | 2 | EA |  | 0
| CONSTRUCT BLANKET PROTECTION FOR PIPES PER SPPWC STD. 225-3 |  | 6 | EA |  | 0
| INSTALL ANTI-SEEPAGE COLLARS; SEE DETAIL "D" ON SHEET 5 |  | - | EA. |  | #VALUE!
|  |  |  | LF |  | 0
| CLEAN & VIDEO |  |  | LF |  | 0
#VALUE!
[5 empty] | Bid | #VALUE!
Wrap
[5 empty] | 2641902 | 0.035