C.P. Construction Company, Inc.

SEWER                                            P.O. BOX 1206  ONTARIO, CALIFORNIA  91762                       PHONE: (909) 981-1091

WATER                                           State Contractor's License No. 304795--Class "A"                          FAX:  (909) 981-6704

December 31, 2019

Mr. Miguel Del Rio

Project Manager

All American Asphalt

400 East Sixth Street

Corona, California   92878-2229

Re:	Change Order Proposal for Archibald north of Merrill – Contract 31671.01.

Dear Miguel:

Pursuant to your e-mailed instructions C.P. hereby submits the following change order proposal for your consideration:

The existing recycled water services were constructed years ago.   The boxes set at that

time are concrete meter boxes, and one is missing the cover for the box.   The current

City Standard requires purple Armorcast boxes – these are expensive boxes and require

roughly 45 days lead-time after order ‘til delivered.

Further, the services have no meter spacers, no customer-side ball valves nor brass pipe

stubbed out of the backside of the boxes (please study the attached colored-up dwg.).

Relocation of the existing water services is do-able however completion to current

City Standard configuration is not possible with the old concrete boxes and missing

components.

C.P. proposes to furnish and install the correct boxes, the meter spacers, the ball valves,

the brass nipples, and the gravel for under the boxes.   The proposed price for these

materials and the labor to install them is $ 2,000.00 for each service, total = $ 6,000.00

for the three 2” recycled water services listed in the bid document for the project.

C.P. excludes chlorinating / bacti testing of the existing services;   C.P. excludes all

backflow devices, cages, and all other improvements beyond the brass nipples.

All of the comments, conditions and exclusions previously presented by C.P. to your firm

apply to this proposal too without change.   Thank you for asking me to send to you this

proposal.    Appreciate your cooperation dealing with this change order request.

Sincerely,

John Blough

Estimator